# 2024 Water Quality Report

NAVAL AIR STATION JACKSONVILLE

PWS #2161212

The Naval Facilities Engineering Command Southeast (NAVFAC SE), Public Works Department (PWD), as the Naval Air Station Jacksonville (Station) water utility service provider, is very pleased to provide you with the 2024 Annual Water Quality Report. PWD provides a safe and dependable supply of drinking water through three deep wells which draw from the Floridan Aquifer. Treatment of your water supply includes aeration for odor control and chlorination for disinfection.  In 2003, the Station started receiving potable water from JEA, but in 2024, less than 5% of our total water was received from them.

In 2024, the Department of Environmental Protection performed a Source Water Assessment that identified six potential sources of contamination in the vicinity of our wells with low susceptibility levels. Assessment results are on the DEP Source Water Assessment and Protection Program website at https://prodapps.dep.state.fl.us/swapp/.

For further information or questions concerning this report, Station housing residents should contact the Housing Office and organizational personnel should contact PWD Jacksonville Utilities, at (904) 542-6440.

PWD Jacksonville routinely monitors for contaminants in your drinking water according to Federal and State laws and regulations. Except where indicated otherwise, this report is based on the results of our monitoring for the period January 1st to December 31st, 2024. Data obtained before January 1, 2024, and presented in this report are from the most recent testing done in accordance with the laws, rules, and regulations.

Below are the definitions of terms and abbreviations used in the report:

Action Level (AL) - the concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow.

Maximum Contaminant Level - The “Maximum Allowed” (MCL) is the highest level of a contaminant that is allowed in drinking water.  MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

Maximum Contaminant Level Goal - The “Goal” (MCLG) is the level of a contaminant in drinking water below which there is no known or expected risk to health.  MCLGs allow for a margin of safety.

Maximum Residual Disinfection Level (MRDL) – The highest level of a disinfectant allowed in drinking water.  There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.

Maximum Residual Disinfectant Level Goal (MRDLG) – The level of a drinking water disinfectant below which there is no known or expected risk to health.  MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants

Non-Detects (ND) –indicates that the substance was not found by laboratory analysis.

Not Applicable (N/A) – No value limit or restriction has been applied to this particular parameter.

Parts per billion (ppb) - one part per billion corresponds to one minute in 2,000 years, or a single penny in $10,000,000.

Parts per million (ppm) - one part per million corresponds to one minute in two years or a single penny in $10,000.

Picocuries per liter (pCi/L) - picocuries per liter is a measure of the radioactivity in water.

Treatment Technique (TT): A required process intended to reduce the level of a contaminant in drinking water.

| #### NON-SECONDARY TEST RESULTS TABLE – NAS JACKSONVILLE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| # Inorganic Contaminants |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contaminant and Unit of Measurement | Dates of sampling (mo./yr.) |  |  | MCL Violation Y/N |  |  |  | Level Detected |  |  |  | Range of Results |  |  |  | MCLG |  |  | MCL |  | Likely Source of Contamination |  |  |  |
| Barium (ppm) | 07/2023 |  |  | N |  |  |  | 0.032 |  |  |  | N/A |  |  |  | 2 |  |  | 2 |  | Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits |  |  |  |
| Fluoride (ppm) | 07/2023 |  |  | N |  |  |  | 0.56 |  |  |  | N/A |  |  |  | 4 |  |  | 4 |  | Erosion of natural deposits; discharge from fertilizer and aluminum factories. Water additive which promotes strong teeth when at optimum levels between 0.7 and 1.3 ppm |  |  |  |
| Sodium (ppm) | 07/2023 |  |  | N |  |  |  | 14 |  |  |  | ### N/A |  |  |  | N/A |  |  | 160 |  | Saltwater intrusion, leaching from soil |  |  |  |
| Stage 2 Disinfectants and Disinfection By-Products |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| For chlorine, the level detected is the highest running annual average (RAA), computed quarterly, of monthly averages of all samples collected. The range of results is the range of results of all the individual samples collected during the past year. For Haloacetic acids or TTHM, the level detected is the highest RAA, computed quarterly, of quarterly averages of all samples collected if the system is monitoring quarterly or is the average of all samples taken during the year if the system monitors less frequently than quarterly. Range of Results is the range of individual sample results (lowest to highest) for all monitoring locations. |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contaminant and Unit of Measurement |  | Dates of sampling (mo./yr.) |  |  | MCL Violation Y/N |  |  |  | Level Detected |  |  |  | Range of Results |  |  | ##### MCLG or MRDLG |  |  |  | MCL or MRDL |  |  | Likely Source of Contamination |  |
| Total Trihalomethanes (TTHM) (ppb) |  | Quarterly 2024 |  |  | N |  |  |  | 55.47 |  |  |  | 39.10 – 57.68 |  |  | N/A |  |  |  | MCL = 80 |  |  | By-product of drinking water chlorination |  |
| Haloacetic Acids (HAA5) (ppb) |  | Quarterly 2024 |  |  | N |  |  |  | 22.13 |  |  |  | 12.67 – 30.54 |  |  | N/A |  |  |  | MCL = 60 |  |  | By-product of drinking water chlorination |  |
| Stage 1 Disinfectants and Disinfection By-Products |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contaminant and Unit of Measurement |  | Dates of sampling (mo./yr.) |  |  |  | MRDL violation Y/N |  |  |  | Level Detected |  |  |  | Range of Results |  |  |  | MRDLG |  |  |  | MRDL | Likely Source of Contamination |  |
| Chlorine (ppm) |  | Monthly 2024 |  |  |  | N |  |  |  | 0.9 |  |  |  | 0.76 – 1.1 |  |  |  | 4 |  |  |  | 4.0 | Water additive used to control microbes |  |
| Lead and Copper (Tap Water) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contaminant and Unit of Measurement | Dates of sampling (mo./yr.) |  |  | AL Violation Y/N |  |  |  | 90th Percentile Result |  |  |  |  | No. of sites exceeding the AL |  |  |  | MCLG |  |  | AL (Action Level) |  |  |  | Likely Source of Contamination |
| Copper (tap water) (ppm) | 06 – 09/2023 |  |  | N |  |  |  | 0.14 |  |  |  |  | 0 of 54 sites |  |  |  | 1.3 |  |  | 1.3 |  |  |  | Corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |
| Lead (tap water) (ppb) | 06 – 09/2023 |  |  | N |  |  |  | 1.9 |  |  |  |  | 1 of 54 sites |  |  |  | 0 |  |  | 15 |  |  |  | Corrosion of household plumbing systems; erosion of natural deposits |
| SECONDARY TEST RESULTS TABLE – NAS JACKSONVILLE |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Secondary Contaminants |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Contaminant and Unit of Measurement |  |  | Dates of sampling (mo./yr.) |  |  |  | MCL Violation Y/N |  |  |  | Level Detected |  |  |  | Range of Results |  |  |  | MCLG |  |  | MCL | Likely Source of Contamination |  |
| Total Dissolved Solids (ppm) |  |  | 07/2023 |  |  |  | N |  |  |  | 460 |  |  |  | N/A |  |  |  | N/A |  |  | 500 | Natural occurrence from soil leaching |  |
| Sulfate (ppm) |  |  | 07/2023 |  |  |  | N |  |  |  | 200 |  |  |  | N/A |  |  |  | N/A |  |  | 250 | Natural occurrence from soil leaching |  |
| Chloride (ppm) |  |  | 07/2023 |  |  |  | N |  |  |  | 16 |  |  |  | N/A |  |  |  | N/A |  |  | 250 | Natural occurrence from soil leaching |  |
| Odor (threshold odor number) |  |  | 07/2023 |  |  |  | N |  |  |  | 1 |  |  |  | N/A |  |  |  | N/A |  |  | 3 | Naturally occurring organics |  |
| Aluminum (ppm) |  |  | 07/2023 |  |  |  | N |  |  |  | 0.06 |  |  |  | N/A |  |  |  | N/A |  |  | 0.2 | Natural occurrence from soil leaching |  |
| Foaming Agents (ppm) |  |  | 07/2023 |  |  |  | N |  |  |  | 0.056 |  |  |  | N/A |  |  |  | N/A |  |  | 0.5 | Pollution from soaps and detergents |  |
| Copper (ppm) |  |  | 07/2023 |  |  |  | N |  |  |  | 0.0011 |  |  |  | N/A |  |  |  | N/A |  |  | 1 | Corrosion byproduct and natural occurrence from soil leaching |  |

Lead can cause serious health effects in people of all ages, especially pregnant people, infants (both formula-fed and breastfed), and young children. Lead in drinking water is primarily from materials and parts used in service lines and in home plumbing. NAS Jacksonville is responsible for providing high quality drinking water and removing lead pipes but cannot control the variety of materials used in the plumbing in your home. Because lead levels may vary over time, lead exposure is possible even when your tap sampling results do not detect lead at one point in time. You can help protect yourself and your family by identifying and removing lead materials within your home plumbing and taking steps to reduce your family's risk. Using a filter, certified by an American National Standards Institute accredited certifier to reduce lead, is effective in reducing lead exposures. Follow the instructions provided with the filter to ensure the filter is used properly. Use only cold water for drinking, cooking, and making baby formula. Boiling water does not remove lead from water. Before using tap water for drinking, cooking, or making baby formula, flush your pipes for several minutes. You can do this by running your tap, taking a shower, doing laundry or a load of dishes. If you have a lead service line or galvanized requiring replacement service line, you may need to flush your pipes for a longer period. If you are concerned about lead in your water and wish to have your water tested, contact PWD Jacksonville Utilities, at (904) 542-6440. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available at https://www.epa.gov/safewater/lead.

We are required to periodically sample water from customer taps to determine lead and copper levels. EPA sets the lead action level at 15 ppb. For a water system to be in compliance, at least 90% of tap water samples must have lead levels below this limit. This report contains the 90th percentile and range of our most recent sampling. The individual results for each location sampled are available for review by contacting PWD Jacksonville Utilities, at (904) 542-6440.

To address lead in drinking water, EPA requires that all community water systems develop and maintain an inventory of service line materials. We have completed a service line inventory, and it is available for review by contacting PWD Jacksonville Utilities, at (904) 542-6440.

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally-occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

(A) Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

(B) Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

(C) Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

(D) Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, and septic systems.

(E) Radioactive contaminants, which can be naturally-occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems. FDA regulations establish limits for contaminants in bottled water which must provide the same protection for public health.

All drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline at 1-800-426-4791.

Thank you for allowing us to continue providing your family with clean, quality water this year. To maintain a safe and dependable water supply we sometimes need to make improvements that will benefit all our customers. These improvements are sometimes reflected as rate structure adjustments. Thank you for understanding.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791).